## All Data
Sa | ProjectName | Year of Assessment (normally this year) | Year Built | # of Units | # of floors (from filenam | Project Number | Date | Description | Bldg | Included in cells to the right? | Trigger count | Exclude from all? (1-Yes,0=No) | Chart Wording: | Roofing Issues | Plumbing: Water Leak in Utility Closet | Piping: Sanitary Not Draining | Plumbing Fixture Leaks | Piping: Below Ground Sanitary | Toilet not flushing | Plumbing: Sewer Smell | Plumbing: Water Leaks Behind Sheetrock | Plumbing: Leaking Water Heaters | Plumbing: Fixtures that are in poor condition | No hot water | Low or no water pressure | Humidity/mold | Heating not working | AC not working properly | Thermostat Issues | Smell in HVAC | Miscellaneous HVAC | Fan issues | HVAC drip or leak | Unbalanced HVAC | Inadequate HVAC capacity | Electrical | Fire | Window issues | Window Leak | Windows Fogged | Window Condensation | Washer/Dryer Issues | Dishwasher Issues
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | Kitchen water lek | 085-G0203 | 1 | Single |  |  |  | 0 | 1 | 1 |  | 0 |  | 1 |  |  | 0 | 1 |  | 0 | 0 |  |  |  | 0 |  | 0 |  | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | toilet seat/filter/ac/stove | 085-G2801 | 1 | Single |  |  |  | 0 |  | 0 | [7 empty] | 0 |  | 0 | 0 |  |  |  | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | silicon for roach holes hall/kitche | 085-G2803 | 1 | Single
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | install blinds to sunroom | 085-H0312 | 1 | Single | [9 empty] | 0 | [7 empty] | 0 |  |  | 0 |  |  |  | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | roof leak | 085-H2603 | 0 |  |  |  | 1 | 0 | 1 | 1 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | mailbox key hard to open | 085-H2604 | 1 | Single
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | closet | 085-H2809 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | sheetrock repair | 085-V0113 | 0 | [17 empty] | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | stove | 085-V1001 | 1 | Single | [15 empty] | 0 |  |  |  |  | 0