## All Data
Sa | ProjectName | Year of Assessment (normally this year) | Year Built | # of Units | # of floors (from filenam | Project Number | Date | Description | Bldg | Included in cells to the right? | Trigger count | Exclude from all? (1-Yes,0=No) | Chart Wording: | Roofing Issues | Plumbing: Water Leak in Utility Closet | Piping: Sanitary Not Draining | Plumbing Fixture Leaks | Piping: Below Ground Sanitary | Toilet not flushing | Plumbing: Sewer Smell | Plumbing: Water Leaks Behind Sheetrock | Plumbing: Leaking Water Heaters | Plumbing: Fixtures that are in poor condition | No hot water | Low or no water pressure | Humidity/mold | Heating not working | AC not working properly | Thermostat Issues | Smell in HVAC | Miscellaneous HVAC | Fan issues | HVAC drip or leak | Unbalanced HVAC | Inadequate HVAC capacity | Electrical | Fire | Window issues | Window Leak | Windows Fogged | Window Condensation | Washer/Dryer Issues | Dishwasher Issues
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | STOVE | 085-G0203 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | toilet seat/filter/ac/stove | 085-G2801 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | silicon for roach holes hall/kitche | 085-G2803 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | install blinds to sunroom | 085-H0312 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | After Flood | 085-H2603 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | mailbox key hard to open | 085-H2604 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | closet | 085-H2809 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | sheetrock repair | 085-V0113 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | stove | 085-V1001 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | sheetrock repair | 085-V1203 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | vinyl floor coming up/doors | 085-V2611 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | shower head low pressure | 085-W0608 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | stove | 085-W0716 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | inventory | 085-W1503 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | toilet | 085-W2801 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | broken window | 085-W3007 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | garbage disposal not working/stoppe | 085-G2607 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | Stove not working | 085-H0404 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | Stove not working | 085-H0511 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | stove not working | 085-H0624 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | need copy of house key | 085-H1803 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | oven not working only @ 500 | 085-V0403 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | fridge not working/ | 085-V1008 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | shower faucet brken | 085-V1305 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | paint | 085-W0111 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | ac filter change | 085-W1912 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | washer connections | 085-H2404 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | Bluff laundry door will not lock | 085- | 1 | Multiple | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | ac leak | 085-H0207 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | Ceiling fan | 085-H2603 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | ceiling fan slow | 085-V2006 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | replace thermostate its falling | 085-H0312 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | shower leaks on right side/molded | 085-W1606 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | sink stopped up/dishwahser and fan | 085-G2606 | 1 | Multiple | 0 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | wiondow screen gone | 085-H2604 | 1 | Single | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | stove not working | 085-V1001 | 1 | Single | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-01 | refrigerator not working | 085-V1008 | 1 | Single | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | 3 window screens | 085-G0116 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | door for laundry fell off | 085-G0304 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | entry light needs replace | 085-G0912 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Garbage Disposal | 085-G1507 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | closet in bedroom locked | 085-G2102 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | stove light doesnt turn off | 085-H0511 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | leak | 085-H1601 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | countertop/tub resurface | 085-H2108 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | closet rack fell | 085-H2809 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | frigerator and stove need changed | 085-V0505 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Mail Box | 085-V1308 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | kitchen light out | 085-V1705 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | mailbox key | 085-V1804 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Leak | 085-V1901 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | smoke alarm needs to be changed | 085-V1902 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Big burner not working | 085-V1904 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | resident sold machine need pipe | 085-V2702 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | mailbox lock not working | 085-V2906 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | INVENTORY | 085-W0515 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | shower faucet not worjking | 085-W0608 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | outside light not turning off at al | 085-W0614 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | leak | 085-W0902 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | soap dish fell off-tiles falling | 085-W1105 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | stove burner not working/faucet | 085-W1202 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | sheetrock repair needed in restroom | 085-W2201 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | no storage key | 085-W2813 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | 2 burner are out | 085-W2905 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Bluff laundry room broken window | 085- | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Icemaker not working | 085-G0305 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | stove | 085-H0501 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | garbage disposal not workign | 085-H0602 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | entry light | 085-H1005 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Ice maker | 085-H1303 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Mail box Key | 085-H1702 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | sheetrock where leak was repaired | 085-V0121 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | flood | 085-V1303 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | Window | 085-V2108 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | toilet running | 085-W0108 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | replace locks for door and mailbox | 085-W0110 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | light | 085-W0407 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | ice maker | 085-W1004 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | stove | 085-W2312 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | water presure low/light loose | 085-W2101 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | bluff laundry light out | 085- | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | no hot water | 085-H2813 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | no hot water | 085-V2516 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | no hot water | 085-V2606 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | kitchen sink faucet broken | 085-V0503 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | exhaust fan missing part | 085-V2704 | 1 | Multiple | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | restroom ceiling leak | 085-W2201 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | toilet is not running | 085-W1612 | 1 | Single | 0 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | sink in bathroom needs replaced | 085-H2108 | 0 | None | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | frigerator and stove need changed | 085-V0505 | 1 | Single | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-02 | No hot water in shower | 085-H2813 | 1 | Single | 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | stove | 085-G1504 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | Extractor | 085-G2706 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | 2 burners out | 085-H2107 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | Smoke Detector | 085-H2701 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | shower | 085-V0101 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | closet rack | 085-V2414 | 1 | Single | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | change a/c filter | 085-V2707 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | kitchen sink overflowing | 085-W0713 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2013 | 1983 | 1217 | 2 | 13105 | 2012-10-03 | leak | 085-W2801 | 0 | None | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Column AB
Column: | AB
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| heating | heater | blows cold air | water heater | clean | vent
| not getting warm | heater | doesn't work | swap ac | A/C | not cooling
| blowing only cold air | heater | isn't working | controller | AC | blowing hot
| no heat | heater | does not work | green light | AC | broken
| no heat | heat | blows cold air | new nest | AC | not drop below
| only blowing cold air | heat | doesn't work | thermostat | A/C | broken
| heater | heat | isn't working | bill | hvac | noise
| heater not working | heat | does not work | brownish | breaker | reset
| NO HEAT | no | heat | distribute evenly | hvac | noise
| heat not working | Heat | not working | hot water | vent | noise
| Heat stopped working | A/C | not heat up | overnight | AC | loud
| Heat will not come on | heater | not seem to work | cooler is not working | A/C | loud
| heat wont turn | struggling to get above | degrees | heater works fine | Air conditioning | loud
| Heat will not turn | heat | hasn't | heater works good | air conditioner | loud
| heat not blowing | heat | hasnt | airport | temperature | increasing after turning it down
| heat isnt workin | heat | hasn t | switch | air | isn't cooling
| heat is not working | heat | broke | bill | AC | isn't cooling
| Heat is blowing cold air | heat | does not | oven | A/C | isn't cooling
| heat is not blowing | heat | doesn't | Air conditioner: | air | isnt cool
| heat blowing cool | heat | doesnt | AC Stopped working | AC | isnt cool
| heat blowing cold | heat | doesn t | Air conditioning isn't getting cold | A/C | isnt cool
| No het | heating | does not | water | A/c | loud
| no ht | heating | doesn't | plumbing | window | draft
| Heater-other problem | heating | doesnt | sink | window | condensation
| not heat up | heating | doesn t | light | window | leak
| blows out only cold air | does not | heat | after hours | window | seal
| sink | doesn't | heat | dish | window | cool
| Icy condition reported | doesnt | heat | washer | loud | noise
| Hvac Blowing Cold Air | doesn t | heat | dryer | filter | chang
| Heats off in unit | HVAC | not heat | hot tub
| HVAC Too Cold | heat | trouble | HEATING & COOLING: -
|  | heat | blowing cold | AC went out
|  | heat | not working | A/C went out
|  | called | no heat | A/C isn't turning on
|  | Heater | not work | Air conditioner stopped
|  | heat | not working properly | doesn't cool
doesn't get cool
A/C has been out
A/c is out
A/C is completely out
request filter vent
cooling needs repair
cooling won't work
cooling not work
cooling doesn't work
cooling doesn t work
cooling stopped workin
cooling doesn’t seem to be working
cooling not turning on
cooling won't turn on
cooling not been working
cooling not really working
cooling not putting out cold air
cooling barely works
cooling replace
cooling isn't work
cooling no
cooling does not work
cooling stops working
cooling stop working
cooling noise
cooling isnt working
cooling isn't blowing
HVAC needs repair
HVAC won't work
HVAC not work
HVAC doesn't work
HVAC doesn t work
HVAC stopped workin
HVAC doesn’t seem to be working
HVAC not turning on
HVAC won't turn on
HVAC not been working
HVAC not really working
HVAC not putting out cold air
HVAC barely works
HVAC replace
HVAC isn't work
HVAC no
HVAC does not work
HVAC stops working
HVAC stop working
HVAC noise
HVAC isnt working
HVAC isn't blowing
AC needs repair
AC won't work
AC not work
AC doesn't work
AC doesn t work
AC stopped workin
AC doesn’t seem to be working
AC not turning on
AC won't turn on
AC not been working
AC not really working
AC not putting out cold air
AC barely works
AC replace
AC isn't work
AC no
AC does not work
AC stops working
AC stop working
AC noise
AC isnt working
AC isn't blowing
A/C needs repair
A/C won't work
A/C not work
A/C doesn't work
A/C doesn t work
A/C stopped workin
A/C doesn’t seem to be working
A/C not turning on
A/C won't turn on
A/C not been working
A/C not really working
A/C not putting out cold air
A/C barely works
A/C replace
A/C isn't work
A/C no
A/C does not work
A/C stops working
A/C stop working
A/C noise
A/C isnt working
A/C isn't blowing
conditioning needs repair
conditioning won't work
conditioning not work
conditioning doesn't work
conditioning doesn t work
conditioning stopped workin
conditioning doesn’t seem to be working
conditioning not turning on
conditioning won't turn on
conditioning not been working
conditioning not really working
conditioning not putting out cold air
conditioning barely works
conditioning replace
conditioning isn't work
conditioning no
conditioning does not work
conditioning stops working
conditioning stop working
conditioning noise
conditioning isnt working
conditioning isn't blowing
conditioner needs repair
conditioner won't work
conditioner not work
conditioner doesn't work
conditioner doesn t work
conditioner stopped workin
conditioner doesn’t seem to be working
conditioner not turning on
conditioner won't turn on
conditioner not been working
conditioner not really working
conditioner not putting out cold air
conditioner barely works
conditioner replace
conditioner isn't work
conditioner no
conditioner does not work
conditioner stops working
conditioner stop working
conditioner noise
conditioner isnt working
conditioner isn't blowing
A/C does not cool
attic fan nois
Other - Please see comments
Vents/ducts
cook top
filter
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AC
Column: | AC
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| A/C | HVAC | needs repair | toilet | A/c | lek
| AC is not working | HVAC | won't work | sink | A/c | is lk
| does not cool | HVAC | not work | bathroom | A/c | lkg
| not cooling effectively | HVAC | doesn't work | bath | a.c. | lek
| doesn't have enough power | HVAC | doesn t work | shower | a.c. | is lk
| not blowing cold air | HVAC | stopped workin | flooding | a.c. | lkg
| not blowing out very strong | HVAC | doesn’t seem to be working | dripping | AC | lek
| doesnt cool lower | HVAC | not turning on | grout | AC | is lk
| not able to cool below | HVAC | won't turn on | no water | AC | lkg
| doesn t cool the aparment effectively | HVAC | not been working | nest thermostat | AC | lkn
| not cooling properly | HVAC | not really working | account | a.c. | lkn
| not cooling down | HVAC | not putting out cold air | outlet | A/c | lkn
| ac down below | HVAC | barely works | gas alarm | AC | fiilter
| doesn t seem to have enough power | HVAC | replace | no power in the living room | a.c. | fiilter
| blowing warm air | HVAC | isn't work | light | A/c | fiilter
| doesnt blow cold air | HVAC | no | breaker | AC | ftr
| AC is blowing hot air | HVAC | does not work | beeaker | a.c. | ftr
| AC not cooling | HVAC | stops working | detector | A/c | ftr
| No A.C. | HVAC | stop working | alarm | thermostat | blank
| AC isn't working | HVAC | noise | battery | thermostat | not working
| AC broke | HVAC | isnt working | batteries | A/C | not heat up
| AC is broken | HVAC | isn't blowing cold air | DW | struggling to get above | degrees
| A.C. | HVAC | isn t blowing | vinyl | vent | dirty
| A/c | AC | needs repair | door lock | heater | not warm
| a/c filter | AC | won't work | hallway floors | too cold | despite 26degree thermostat
| A/c filter | AC | not work | Garbage Disposal | washroom | handle
| A/C filter | AC | doesn't work | heat isn't working | burning smell | electrical room
| AC blowing hot air | AC | doesn t work | no heat | sprinkler | head
| AC doesnt work | AC | stopped workin | door | stairwell | not closing properly
| AC down | AC | doesn’t seem to be working | door | hvac | noise
| ac flt | AC | not turning on | A/C filt | stall | restroom
| ac fltr | AC | won't turn on | AC filt | stall | toilet
| AC fltr | AC | not been working | A.C. filt | HVAC cover | broken
| AC flt | AC | not really working | HVAC filt | HVAC cover | came off
| AC frzn | AC | not putting out cold air | air filter | Grate | missing
| ac is out | AC | barely works | possible leak | filter | replace
| AC nt cl | AC | replace | A/C filter | thermostat | no power
| ac nt collin | AC | isn't work | leak | thermostat | disconnected from power
| ac nt coln | AC | no | evenly | thermostat | no electricity
| ac nt cool | AC | does not work | A/C fit | thermostat | not connecting to power
| ac nt wrk | AC | stops working | AC fit | It's very cold | in my apartment
| ac prblm | AC | stop working | A.C. fit | It's very cold | in my apartment
| ac nt blwn cld | AC | noise | A/c fltr | problem | neighbour
| ac not wrkng | AC | isnt working | ELECTRICAL: | need | filter
| ac nt wor | AC | isn't blowing | a/c filr | filter | chang
| ac nt gttn cld | AC | isn t blowing | AC filr | missing | fire sprinkler cover
| ac nt coon prply | A/C | needs repair | a.c. filr | no power | electric plug
| Ac unit is leaking | A/C | won't work | a/c flt | tv | no signal
| air filter | A/C | not work | AC flt | tv | mount
| Air conditioner doesn't turn on | A/C | doesn't work | a.c. flt | tape | carpet
| Air Conditioner is blowing hot air | A/C | doesn t work | clean a/c ducts | kitchen | hinge
| Air conditioner is frozen over | A/C | stopped workin | dcts
| Air conditioner isn't cooling prop | A/C | doesn’t seem to be working | washer
| Replace ac filter | A/C | not turning on | patio
| replace a/c filter | A/C | won't turn on | balcony
| AC keeps going out | A/C | not been working | heat not working
| no ac | A/C | not really working | thermostat not working
| AC went out | A/C | not putting out cold air | smells bad
| AC does not work | A/C | barely works | thermostat is out
| Change AC fitler | A/C | replace | not heating
| change a/c filter | A/C | isn't work | turn on heat
| no cool | A/C | no | sheetrock repair
| Air conditioner: | A/C | does not work | goc
| Check AC | A/C | stops working | drip sound
| chck ac | A/C | stop working | heater
| check the air | A/C | noise | No matter how high we turn up the temperature
| HVAC: | A/C | isnt working | blows out only cold air
| A/C-other problem | A/C | isn't blowing | furnace
| HEATING & COOLING: - | A/C | isn t blowing cold air | doesn't get hotter
| Air conditioner stopped | cooling | needs repair | dust
| doesn't get cool | cooling | won't work | computers
| A/C has been out | cooling | not work | heater is
| A/c is out | cooling | doesn't work | ceiling vent
| A/C is completely out | cooling | doesn t work | hot water
| issue with AC | cooling | stopped workin | urinal
| A/C does not cool | cooling | doesn’t seem to be working | after hours
| AC doesn't work | cooling | not turning on | Construction-type odour
| Doesn't cool down | cooling | won't turn on | plumbing
| Doesn't cool | cooling | not been working | Interior window gasket
|  | cooling | not really working | wet ceiling tiles
|  | cooling | not putting out cold air | damaged ceiling tile
|  | cooling | barely works | replaced glass
|  | cooling | replace | Icy condition reported
|  | cooling | isn't work | dish
|  | cooling | no | washer
|  | cooling | does not work | dryer
|  | cooling | stops working | portable
|  | cooling | stop working | Thermostat stopped working
|  | cooling | noise | Thermostat stop working
|  | cooling | isnt working | thermostat went out
|  | cooling | isn't blowing | thermostat will not come on
|  | cooling | isn t blowing | window crack
|  | air | needs repair | mouse
|  | air | won't work | no heat
|  | air | not work | Heat is not working
|  | air | doesn't work | heat does not work
|  | air | doesn t work | heat broke
|  | air | stopped workin | heating does not
|  | air | doesn’t seem to be working | heating doesn't
|  | air | not turning on | heating doesnt
|  | air | won't turn on | heating doesn t
|  | air | not been working | heat does not
|  | air | not really working | heat doesn't
|  | air | not putting out cold air | heat doesnt
|  | air | barely works | heat doesn t
|  | air | replace | thermostat does not
|  | air | isn't work | thermostat doesn't
|  | air | no | thermostat not turning on
|  | air | does not work | heat in my apartment isn't
|  | air | stops working | don't think my heat is working
|  | air | stop working | OT - HVAC
|  | air | noise | ice maker
|  | air | isnt working | fridge
|  | air | isn't blowing | refrigerator
|  | air | isn t blowing | elevator Sign
|  | AC | needs service | white noise
|  | AC | does not work | freight elevator
|  | air | isn't working | emerggency boksz
|  | airer | not working | vendor access
|  | air | really weak | floor sticker
|  | AC | isn't working | picture frame
|  | AC | hasn’t been cooling | spider
|  | airing | isn t blowing | soap
|  | airing | not producing cold air | top hinge
|  | a/c | not cooling | low hinge
|  | change | a/c filter | replace filter
|  | A.C | not working | new filter
|  | AC | not working
|  | AC | does not get cold
|  | AC | does not turn on
|  | AC | not work
|  | AC | isn't cooling
|  | AC | is not cooling
|  | AC | is nt cool
|  | AC | is nt wrk
|  | AC | only blowing out hot
|  | AC | only blowing hot
|  | AC | isn't cooling
|  | AC | not blowing cool
|  | AC | not cool
|  | AC | not working
|  | AC | not working
|  | AC | not working
|  | AC | stopped workin
|  | AC | not turning on
|  | AC | will not cool
|  | AC | will not turn
|  | AC | wont turn
|  | AC | will not go below
|  | AC | will not come on
|  | AC | wont cool
|  | AC | won't cool
|  | AC | wont shut
|  | Air conditioning | wont get cold
|  | Air conditioning | isn't turn
|  | AC | went out
|  | AC | isn't functioning
|  | HVAC | not cooling
|  | HVAC | not clg
|  | A/C | not clg
|  | Ac | not clg
|  | A.C | not clg
|  | air | not clg
|  | HVAC | not cold
|  | A/C | not cold
|  | Ac | not cold
|  | A.C | not cold
|  | air | not cold
|  | HVAC | chk
|  | A/C | chk
|  | Ac | chk
|  | A.C | chk
|  | air | chk
|  | HVAC | check
|  | A/C | check
|  | Ac | check
|  | A.C | check
|  | air | check
|  | HVAC | hot
|  | A/C | hot
|  | Ac | hot
|  | A.C | hot
|  | air | hot
|  | HVAC | ht
|  | A/C | ht
|  | Ac | ht
|  | A.C | ht
|  | air | ht
|  | air | quality
|  | A/C | not come on
|  | AC | not come on
|  | HVAC | not come on
|  | Air conditioning | not come on
|  | Air conditioner | gone out
|  | AC | loud
|  | A/C | loud
|  | Air conditioning | loud
|  | air conditioner | loud
|  | temperature | increasing after turning it down
|  | AC | not cool
|  | A/C | not cool
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AH
Column: | AH
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| AC is leaking | leaking | HVAC | sink | urinal | running
| AC is lekn | leaking | a.c. | faucet | hot | water
| ac is lekn | leaking | A/C | shower | washroom | leak
| ac is leaking | dripping | HVAC | toilet | leak | ceiling pipe
| AC leaking | dripping | a.c. | bathroom | leak | men's
| AC lekn | dripping | A/C | No electric | leak | mens
| ac lekn | vents | are leaking | water tap | leak | tap
| Ac lkng | pool of water | HVAC filter | urinal | active leak | ceiling
| AC lkng | leaking | exhaust | kitchenette | ceiling tile | carpentry
| leak from vent | air condition unit | leaking | coffe machine | ceiling tile | leak
|  | exhaust | leaking | plumbing | ceiling | water leak
|  | air condition | leaking | sewage | water damage | ceiling
|  | air vent | leak | ceiling leak | leak from | pipe
|  | water is comibg out | air conditioning vent | Water leak from ceiling | crack | on a pipe
|  | A/C | leak | panels in the ceiling has water damage
|  | a.c. | leak | active dripping leak
|  | a/c | leaking | active water dripping from the ceiling
|  | cooling | leak | ceiling leak
|  | cond | leak | dripping from the lower concourse
|  | condensation | leak | sprinkler
|  | condensator | leak | leak coming from the ceiling in the suit room
|  | AC | drip | electrical panel is beside leak
|  | AC | dripping | drain pipe
|  | Ac | leak | pipe by the back
|  | Air Conditioning | drip | dish
|  | HVAC | leak | wash
|  | A/c | lek | dryer
|  | A/c | is lk | water heater
|  | A/c | lkg
|  | a.c. | lek
|  | a.c. | is lk
|  | a.c. | lkg
|  | AC | lek
|  | AC | is lk
|  | AC | lkg
|  | AC | lkn
|  | a.c. | lkn
|  | A/c | lkn
|  | fan | leak
|  | vent | leak
|  | vent | drip
|  | a/c | coil leak
|  | AC | coil leak
|  | air cond | coil leak
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AD
Column: | AD
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| HVAC panel | controller | heating | bird | fan | blow
| google | controller | air conditioning | no hot water | cool | unit
| nest | controller | ac | water heater | Air Conditioning | broke
| thermostat | controller | a/c | AC is blowing hot | air conditioning | not working
| controller for heating and air conditioning | HVAC: | thrm | AC is not working properly | isn t | cooling
| thrmstt |  |  | AC not working | isn't | cooling
| thermst |  |  | air filter | isnt | cooling
|  |  |  | AC is out | is not | cooling
|  |  |  | not cool | heat | broke
|  |  |  | dust | electric | outlet
|  |  |  | ceiling vent | leak | tap
|  |  |  | air conditioner | leak | ceiling
|  |  |  | AC is weak | contractor | quote
|  |  |  | blowing hot air | bulb | replace
stall
urinal
flush
flood
clog
spider
wasp
hornet
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column Q
Column: | Q
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| clog | toilet | hard time going down | disposal | toilet | noise
| blockage | water | refluxing back | not fill bowl | toilet | wont flush
| stopped up | dishwasher | flooded | vent | toilet | is not working
| draining | bath tub | draining very slow | urinal wont stop flushing | toilet | long time to fill
| not draining | drain | clog | urinal will not stop flushing | toilet | lever
| not drain | back up | sink | toilet will not stop flushing | toilet | not filling
| backed up | back up | tub | flush handle | flush | tank
| drainage | back up | drain | hood fan | flush | 2 or 3
| drains slow | bath tub | slow drain | no leak or clog | bowl | long time
| doesn't drain | sink | wont drain | stuck on flush mode | bowl | filling very slow
| drained | tub | wont drain | water heater | bowl | filling slow
| choked up | water issue | flood | leaking water | flush | slow
| choking up | urinal | not flushing properly | water is running from the back | toilet | pressure not strong
| drain properly | urinal | filling up | flushing too hard | flush | multiple
| to drain | urinal | not draining quickly | flushing non stop | toilet | pressure is very low
| backing up | toilet | will not lush | not stop flushing | flush | tank
| drains very | toilet | is not flushing | leaking when flushed | flush | more than
| water is not going down | sink | overflow | flush doesn't stop | flush | tank
| weak flushing | drain | overflow | constantly flushing | leaking | pipe
| not flushing | flush | water comes up | washroom has one toilet flushing | sensor | toilet
| wont flush | toilet | plugged | keeps flushing | water leak | joint
| completely flush | water | won't go down | continues the flush | No water | kitchen
| not flush water | Water goes down | slow | sprinkler | water | leaked
| flushing slowly |  |  | car backing up | tap | no water pressure
| won’t flush |  |  | wont stop flush | urinal | leak
| not flush |  |  | runs continuously | toilet | continuously flushing
| multiple flushes |  |  | coffee pot | toilet | continually flushing
| flushing |  |  | coffee maker | toilet | flushes continually
| flush |  |  | overflowing but not plugged | toilet | flushing continually
| flushes |  |  | fill valve | urinal | continuously flushing
| toilet is not |  |  | handle stuck | urinal | continually flushing
| toilet not |  |  | spray when flushing | urinal | flushes continually
| Toilet plugged/overflows |  |  | dish | urinal | flushing continually
| toilet rocking |  |  | dryer | tap | very low in pressure
| clogged kitchen sink |  |  | drier | water | has been running
| toilet overflowing |  |  | washer | water | from the ceiling
| toilet is overflowing |  |  | f lappr brkn | water | from ceiling
| snk cl |  |  | DW does not drain | leaked during | flush
| tolt clg |  |  | Air conditioner | floor | swept
| tolt nt fls |  |  | condensation drain | flapper chain | broke
| tolt ovr flw |  |  | AC drain | chain | corrode
| clggd |  |  | continuously flush | chain | snap
| bckn up |  |  | continuously run | washing machine | not drain
| slw dr |  |  | won’t stop flushing
| sink clg |  |  | toilet needs a new handle
| tolts r bckn up |  |  | flusher thing snapped
| tolts r clggd |  |  | garbage disposer
| toil clg |  |  | washing machine will not drain
| bthrm snk is clgd |  |  | toilet handle broke
| drnin slw |  |  | flapper broke
| dra clg |  |  | chain broke
| toilet needs to be flushed a few times |  |  | flush mechanism
drain too slow
not draining quickly
stopped drain
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column Y
Column: | Y
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| hot water | shower | not get hot | grey
| water doesn't heat up | water | not get hot | drip
| No ht wtr | water | temperature | leak
| no hot wtr | no hot water | sink | hot water handle
| nt ht wtr | water | very cold | leaking
| hot wtr | water | not staying Hot | leaked
| ht wtr |  |  | Please fix the hot water faucet
| hotwater |  |  | different water source
| only cold water |  |  | flood
| no hot water coming out |  |  | HWT leak
| no hot water |  |  | will not stop running
| Water doesn't get hot |  |  | dish
| Cold In Shower |  |  | washer
| turn up water heater |  |  | dryer
| water not getting hot |  |  | appliance
| Hot water |  |  | handle broke
faucet is broken
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AK
Column: | AK
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| no electricity | the power | is out | door | hot | water
| no power | electricity | not working | ligh | water | heater
| power outage | burning | electrical | lght
| outlet | breaker | reset | lgh
| power is out | outlet | not work | lght
| electric off |  |  | blb
| without power |  |  | lgt ou
| power is out |  |  | lgt ut
| breaker |  |  | ligt
| power out |  |  | lig dim
| Light flickers |  |  | lgts
| Light does not work properly |  |  | lgjts
| No electric |  |  | lgt
| electrical: |  |  | lig ot
| Electrical: |  |  | lght
| wiring |  |  | water heater
| Lights keep turning off |  |  | hot water
water
fan
meet with resident
tv
install
alarm
walk- through
lamp
Air conditioning
AC is not working
Please confirm if we had a power outage
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column O
Column: | O
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | roof | leak | sink
|  | roof | water | tub
|  | leak | rain | window
washer
dryer
air con
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column P
Column: | P
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | utility closet | leak | filter | *- | leak
|  | utility closet | water | water heater | vent | leak
|  | utility closet | liquid | temperature
do not have hot water
temp
No hotwater
A/C not working
sprinkler
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column R
Column: | R
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| shower is leaking | drain | leak | condens | sensor | toilet
| leak in bathroom | drain | drip | extinguisher | no hot water | sink
| bathroom leak | drain | under | vent | dispens | water
| leak in kitchen | drain | water below | Sink is not draining | sink | has low water pressure
| snk lek | drain | below | hood fan | leak | ceiling
| bathroom tub leak | faucet | leak | keeps running | drain | backing up
| gst bthrm tub is drppn | faucet | drip | not flushing properly | drain | backs up
| sink lkg | faucet | under | no leak or clog | drain | back up
| There is a flood | faucet | water below | clog | box under the sink | sound
| leaking around flush handle | faucet | below | stuck on flush mode | water flow is very week | toilet
| water is running from the back | sink | leak | unclog | No water | kitchen
| leaking when flushed | sink | drip | doesn't flush | drain | slow
| shower leak | sink | under | water heater | toilet | continuously flushing
|  | sink | water below | not drain | toilet | continually flushing
|  | sink | below | overflow | toilet | flushes continually
|  | toilet | leak | flushing non stop | toilet | flushing continually
|  | toilet | drip | not stop flushing | urinal | continuously flushing
|  | toilet | under | flush doesn't stop | urinal | continually flushing
|  | toilet | water below | constantly flushing | urinal | flushes continually
|  | toilet | below | keeps flushing | urinal | flushing continually
|  | leak | sink | continues the flush | filter | please replace
|  | leak | tub | continuously running | ensure | nothing currently leaking
|  | leak | toilet | in the corridor | fire | pump
|  | sink | lkg | massage area | water | inside the wall
|  | tub | lkg | didn't stop running | toilet | will not lush
|  | toilet | lkg | please replace filter | faucet | water sprays
|  | faucet | lkg | urinal is not working properly | please change | filter
|  | drain | lkg | faucets spray water | water pressure | is too high
|  | kitchen | water leak | a/c | water pressure | low
|  | leak | kitchen | elevator bay | usual | snaking
|  | washroom | water on the floor | Please fix the hot water faucet | have | filters replaced
|  | toilet seat | loose | turn off the boiler/coffee machine water supply | have | filter replaced
|  | leak | kitchen | reception room | water | spray
|  | Water leak | stall | sewer smell | toilet | is not flushing
|  | urinal | leak | mechanical drain plugs built into | water filter | change
|  | Sink | water sprays | water pressure is very high | check | water filter
|  | leak | flush handle | water filter | faucet | loose
|  | leak | water | no water coming | water | in the filter
|  | leaked from pipe | spray | wobbly | no | water running
|  |  |  | running continuously | flush | doesn't work
|  |  |  | Please service a toilet | handle | loose
|  |  |  | ice maker | handle | wobbly
|  |  |  | ice machine | faucet | loose
|  |  |  | water tap does not always turn on | faucet | wobbly
|  |  |  | will not stop running | spout | detach
|  |  |  | newly installed filter | office | water on the floor
|  |  |  | paint has bubbled up | water pump | noise
|  |  |  | dish machine | water | trickling very slowly
|  |  |  | dishwasher | water | seems to be very slow
|  |  |  | no hot water | sensor | tap
|  |  |  | toilet seat | sensor | urinal
|  |  |  | sprinkler | faucet | loose
|  |  |  | dripping from the lower concourse | sewage | odor
|  |  |  | toilet in the gym is running | filtered water | look
|  |  |  | has been running | water fountain | not working
|  |  |  | DW | temperature | water
|  |  |  | washer | water fountain | running very slow
|  |  |  | dishwasher | water | running constantly
|  |  |  | dryer | flush | properly
|  |  |  | window | handle | unscrew
|  |  |  | air con | faucet | unscrew
|  |  |  | A/C | sink | unscrew
|  |  |  | washing machine | handle | tighten
[5 empty] | faucet | tighten
[5 empty] | sink | tighten
[5 empty] | filter | change
[5 empty] | filter | replace
[5 empty] | flush | water comes up
[5 empty] | filter water | very warm
[5 empty] | leak | from above
[5 empty] | fan | leak
[5 empty] | hvac | leak
[5 empty] | vent | leak
[5 empty] | toilet | running water issue
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column S
Column: | S
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column T
Column: | T
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| Toilet runs continually | Toilet | not fill | water leak | water leak | joint
| toilet keeps running | flush | low | overflow | toilet | continuously flushing
| gst bthrm tolt kps run | flush | more than one | continuously | toilet | continually flushing
| Toilet won’t stop running | weak | flush | continually | toilet | flushes continually
| toilet won t flush | flush | 2 or 3 |  | toilet | flushing continually
| flushing system | bowl | long time |  | urinal | continuously flushing
| toilet doesn't not flush | bowl | filling very slow |  | urinal | continually flushing
| runs continually | bowl | filling slow |  | urinal | flushes continually
| toilet won't flush | flush | slow |  | urinal | flushing continually
| Toilet doesn't flush | toilet | pressure not strong |  | broke | chain
|  | flush | multiple |  | broke | hand
|  | toilet | pressure is very low |  | constantly | run
|  | flush | tank
|  | flush | more than
|  | flush | pressed continuously
|  | toilet | does not flush
|  | toilet | not flushing
|  | urinal | does not flush
|  | urinal | not flush
|  | toilet | will not lush
|  | urinal | not draining quickly
|  | stall | isn't flushing properly
|  | toilet | will not flush
|  | toilet flush | issue
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column U
Column: | U
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| smell | smell | washroom | no water coming | gas | smell
|  | sewage | odor | dish | burnt | smell
|  |  |  | washer | hvac | smell
|  |  |  | dryer | air condition | smell
|  |  |  | drier | flash | smell
|  |  |  | A/C | electrical | smell
|  |  |  | AC unit | bulb | smell
|  |  |  | smell of paint | light | smell
[5 empty] | AC | smell
[5 empty] | hvac | smell
[5 empty] | fan | smell
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column V
Column: | V
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| leak in bulk head | ceiling | leak | dishwasher | grout | missing
| flooding | clg | leak | Wall/ceiling damaged | toilet | flood
| floor wet | celn | leak | vent | washroom | flood
| floor being wet | on wall | leak | fan | sink | flood
| water leaking | on the wall | leak | Nothing is flooding | sink | loose
| carpet soaking | clg | leak | stall | sink | overflow
| soaking | in the hallway | leak | flush handle | no | hot water
| water damage | ceiling | lek | all over the floor | refrig | work
| water coming from | clg | lek | clog
| water is coming from | celn | lek | hvac
| water pipe break | on wall | lek | air condenser
| water pipe leak | on the wall | lek | a/c
| piping break | clg | lek | no water coming
| pipe leak | in the hallway | lek | water filter
| leaking water | leak | ceiling | water tap
| leak in apartment | water | inside the wall | unscrewed
| flooded | elevator bay | leak | dish
| water is leaking | oasis | leak | washer
| water is spreading | leak | reception | dryer
| water spreads | office | water on the floor | DW leaks
| water spreading | leak | from above | Water heater leaks
| leak coming from above | leak | from upstairs
| possible leakage | ceiling | drip
| water leak | ceiling tile | water
| pouring out water | ceiling tile | flood
drains on floor
leak somewhere
standing water
water coming out of floor
Ceiling tile damaged
leak in bulk head
leaking ceiling
celn lekn
celn is lekn
Water on floor
Leak in Living Room
Leaks:
paint has bubbled up
dripping from the lower concourse
water from ceiling
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column W
Column: | W
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| water heater leaks | water heater | flood
| leak from water heater | water heater | leak
HWT leak
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column X
Column: | X
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| loose | faucet | wobbling | thermostat | sensor | toilet
| broken | toilet handl | brkn | light | tissue | holder
| broke | washroom | broken handle | outlet | paper | holder
| missing | faucet | unscrewed | breaker
| come off | toilet seat | broken | electricity
| came off | faucet | loose | power
| doesn't spray | toilet seat | coming off | bulb
| does not spray | flapper | broke | door handle
| not spray | toilet needs | new handle | window
| not stable | chain | snap | tile
| fell off | flapper | broke | drawer hardware
| needs to be tighten up | chain | corrode | glass
| faucet sprays | flusher | rust | door
| counter top damaged |  |  | stopper
| Faucet hard to turn |  |  | AC
| toilet crack |  |  | towel
| f lappr brkn |  |  | electrical
lenin
vent
ceiling
elliptical
cable machine
fire
sprinkler
Air Conditioning
AC
service panel
cabinet
dish
washer
dryer
floor board
paint
paper
chain broken
grill
pool stick
bbq
broken chain
broken crank
I'maker
ice maker
porch lock
hinge
caffeine
coffee
shelving
fence
laminate
gate
garbage
grease filter
number sign
closet rod
toilet roll
shelving
tree
truck
soap
bottle
dispenser
lock
water bowl
air condition
water heater
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column Z
Column: | Z
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| water pressure | water | shut off | water is not going down | water pressure | is too high
| shutting water | tap | very low in pressure | drain | water | spray
| no water | water | trickling very slowly | toilet
| have any water | water | seems to be very slow | knob
| not have water | water fountain | running very slow | coffee machine
| water supply | sink pressure | low | flush
| water is not going |  |  | Water shut off bulb
| water is alternating |  |  | water pressure is very high
| watee pressure |  |  | dish
| no water |  |  | washer
| no running water |  |  | dryer
water outage
water is off
low water pressur
Water not working
cold water appears to be off
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AA
Column: | AA
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| humidity |  |  | AC is not working
| mold |  |  | worried about damage and mold
| fungus |  |  | dish
washer
dryer
molding
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AE
Column: | AE
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| odor | hvac | smell | electrical room
| smell | ac | smell | washroom
plumbing
dish
washer
dryer
water heater
water smell
smell of paint
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AF
Column: | AF
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| gas bill | coil | frozen
| heat bill | air conditioner | freezing
| change filters | vent hood | barely
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AI
Column: | AI
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | AC | not distribute evenly | air vent
|  | heating | not distribute evenly | water
|  | temp | hotter than | fan
alarm
smell
nest app
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AG
Column: | AG
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| fan | vent | dust | leaking | no | heat
| bathroom vent | vent | dirty | dripping
| HVAC noise | fan | dirty | leaks
| hood fan | fan | dust | water
|  | hvac | noise | oven
|  | fan | clog | install
|  | hvac | noise | maintenance
|  | vent | noise | light
|  | vent | sound | fan will turn on
|  | fan | sound | fan is working
|  | vent | clog | air keeps running
|  | noise | hvac | fans are blowing
air coming out
fan is on
fan has been running
electrical room
sewage smell
wash
dryer
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AJ
Column: | AJ
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AL
Column: | AL
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| Smoke/CO detector not working | sprinkler | head | sprinkler room
|  | sprinkler | coming out
|  | sprinkler | leak
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AM
Column: | AM |  |  | Window issues
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| Window |  |  | shards | off | frame
| Glass |  |  | Glass BOX | repair | sliding glass doors
Glassbox
broken glass
broke a glass
shattered glass
glass was dropped
glass door
bottle
glass bowl
deceased bird
clean windowsill
broken container
Electrical - Outlet:
signage is stuck to the
Plexi Glass
plexiglass
paint on
dropped
bowl
water spill
Vent near window
Street window East side of suite. It is drafty
Too Cold:
Too Hot
Light Out/Flickering/Cover
Douglass
not opening properly
leaves from tree
entrance door
Clean all glass
clean interior windows
hand print
handprint
fingerprint
finger print
shower
door
cover
dirty
cleaning
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1

## Column AN
Column: | AN |  |  | Window Leak
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | window | leak | shards | off | frame
|  | window | drip | Glass BOX | repair | sliding glass doors
|  | window | water | Glassbox
|  | window | wet | broken glass
|  | glass | leak | broke a glass
|  | glass | drip | shattered glass
|  | glass | water | glass was dropped
|  | glass | wet | glass door
|  | window | moisture | bottle
|  | window | mold | glass bowl
deceased bird
clean windowsill
broken container
Electrical - Outlet:
signage is stuck to the
Plexi Glass
plexiglass
paint on
dropped
bowl
water spill
Vent near window
Street window East side of suite. It is drafty
Too Cold:
Too Hot
Light Out/Flickering/Cover
Douglass
not opening properly
shower
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1

## Column AO
Column: | AO |  |  | Windows Fogged
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | window | fog
|  | window | cloudy
|  | glass | fog
|  | glass | cloudy
|  | window | not clear
|  | glass | not clear
|  | window | just dirty
|  | window | just dirty
|  | glass | tint is failing
|  | glass | tint is failing
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Looks row by row (ie Cell C3 AND D3).
You cannot use just 1 cell in a row, you must use both.

## Column AP
Column: | AP |  |  | Window Condensation
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
|  | window | condensation
|  | window | wet
|  | glass | condensation
|  | glass | wet
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1

## Column AQ
Column: | AQ |  |  | Washer/Dryer Issues
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| washer |  |  | dish
| dryer |  |  | hair
| wshr |  |  | filter
leak above
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1

## Column AR
Column: | AR |  |  | Dishwasher Issues
If there is a 1 in any of the columns below for this row, override all and put a zero for this column | If any of the the following words appear, put a 1 | If the word in this column | AND the word in this next column, then 1 | If any of the the following words appear, NOT 1 | If the word in this column | AND the word in this next column, then NOT 1
| dishwasher | DW | not work | baseboard
| dish washer | DW | not clean
| dsh wshr | DW | not dry
| Dish wsher | DW | noisy
|  | DW | leak
Note on A2: J M: for example, if there a 1 in column P for this row, I may want to change this row to not be a 1
Note on C2: J M: If any word in this column AND… any word in this next column are in the description, put a 1
Note on F2: J M: If any word in this column AND… any word in this next column are in the description, put a 1